## Sheet1
Compare Heating Fuel Costs
Table 1
(This spreadsheet is protected. Fields highlighted in yellow are input fields.)
|  | Heat Value per unit of measure in |  | Unit of Measure | Price per unit of measure (2) | Price per |  | Appliance Efficiency Rating (%) | Costs at rated efficiency of appliance per
| Fuel Type | BTU | Joule (1) |  |  | Million BTU | GJ (3) |  | Million BTU | GJ (3)
| Coal | 21160000 | 22325385102.3423 | ton | 60 | 2.8355 | 2.6875 | 70 | 4.0508 | 3.8393
| Wood Pellets | 17400000 | 18358303439.5442 | ton | 110.93 | 6.3753 | 6.0425 | 87 | 7.3279 | 6.9454
| Firewood | 14000000 | 14771048744.4609 | Cord | 125 | 8.9286 | 8.4625 | 75 | 11.9048 | 11.2833
| Natural Gas | 947800 | 1000000000 | GJ | 18.4265 | 19.4413 | 18.4265 | 80 | 24.3016 | 23.0331
| Fuel Oil #2 | 39361.6336 | 41529471.9934 | litre | 0.93 | 23.6271 | 22.3937 | 50 | 47.2541 | 44.7875
| Propane | 19900 | 20995990.7153 | lb | 0.7 | 35.1759 | 33.3397 | 80 | 43.9698 | 41.6746
| Electricity | 3412 | 3599915.594 | kWh | 0.14 | 41.0317 | 38.8898 | 100 | 41.0317 | 38.8898
Notes:
1.) | 1 Joule = | 0.0009478 | BTU
2.) | The unit price for each type of fuel must include costs of taxes, delivery and services (incl. portion of applicable connection fees)
3.) | 1 GigaJoule (GJ) = |  | 947800 | BTU or 1 billion Joule
Table 2
Heat values for various fuel types
| Fuel Type | Unit | BTU
| Coal | lb | 10580
| Electricity | kWh | 3412
| Firewood | lb | 7000
| Fuel Oil #2 | lb | 18600
| Fuel Oil #2 | US gal | 149000
| Fuel Oil #2 | litre | 39361.6336
| Natural Gas | lb | 21000
| Natural Gas | ft3 | 148000
| Propane | lb | 19900
| Propane | US gal | 126000
| Propane | litre | 33285.6767
| Wood Pellets | lb | 8700
Walter H. Schneider
Bruderheim REA
2005 10 16
Direct Energy - billing for January 2006
| Energy Used |  | Cost per GJ | Cost
| 23 |  | 15.037 | 345.851
| Admin. Fee - Fixed |  |  | 5.19
| Admin. Fee - Variable |  | 0.014 | 0.322
| GST |  |  | 24.5954
| Delivery Charge - Fixed |  |  | 12.13
| Delivery Charge - Variable |  | 1.072 | 24.656
| Rate Rider |  | 0.082 | 1.886
| Municipal Franchise - Fixed |  |  | 2.46
| Municipal Franchise - Variable |  | 0.156 | 3.588
| GST |  |  | 3.1304
|  |  | Total: | 423.8088
|  |  | Price per GJ delivered: | 18.4265